# STANDARD OPERATING PROCEDURE

# SOP 20.1. – Lift operations

Date: 14.07.2020

# PURPOSE

This is a guide in terms of the business on the operation of a lift at a branch, the rules to follow when using a lift & the importance of following the rules.

# SCOPE

This guide covers the daily operations of the lift for the movement of goods; the staff allowed to operate the lift, the weight allowed in the lift & the communication between levels when running the lift.

# RESPONSIBILITY

- The Branch Manager is accountable & responsible for the daily operations of the lift including the safety, servicing & maintenance of it.

- The Assistant Manager & 2 other Staff members that have been trained on the operation of the lift.

- Only trained & appointed staff members may operate the lift!

# DEFINITION

- Lift, is a transport vehicle that efficiently moves goods between the floors of a building.

- Lift Cabin (outer) door, is the door which opens up manually & leads to the lift car gate door. It is made up of solid panels which slide closed onto each other or slide open away from each other.

- Lift Car gate (inner) door, is the door of the lift itself which is used to secure the goods in the lift. It opens up in a concertina method or similar to a trelli door.

- Call buttons, these are marked buttons which show the different floors. When pressed, the lift will go to the floor of the button pressed.

- Lift Operator, this will be a Staff member whom is trained in the operation of the lift & has signed the training register attached.

# RULES

- This is a goods lift only. ( No people are allowed to ride the lift )

- The lift must not be moved between floors with one or two items & if not full either by volume or weight.

- Single beds or appliances must be moved between floors using the stairs.

- The operator is to make sure that both doors are closed properly or the lift will not work.

- At each floor, the Lift Operator will open & close the two doors, intercom the other floors & operate the call buttons.

- Only trained staff are permitted to operate the lift.

- The maximum weight the lift can carry is three tons.

- When the lift is not in use the car gate (inner) door must be closed & the Cabin (outer) door must be open.

- The lift must be left at the floor it was last at, at the end of every day.

- The use of the lift must be as little as possible!

# PROCEDURE

Receiving of stock from the distribution center

- The stock is offloaded from the truck & checked. The stock is then arranged into different types or sizes. (All beds together, all cupboards together etc.)

- The Lift Operator must then be called & be waiting at the lift.

- The Lift Operator must open the Cabin (outer) door fully & then the car gate (Inner) door fully while making sure that there is nothing in the path of the stock going into the lift.

- The Lift Operator must then check the items going into the lift & ensure that it is as full as possible, yet not over the three ton limit.

- The Lift Operator must then manually close the car gate (inner) door & make sure it is locked into place, then manually close the cabin (outer) door & make sure it is locked into place.

- The Lift Operator must The Lift Operator must then go onto the intercom system to let the people at the other floors know that the lift is on the way.

- If the lift has stock for each floor, the Lift Operator must inform each floor with the intercom that they have stock coming to them. The Lift Operator must then press the call button for the floor the lift is going to.

- When the lift gets to its floor the Lift Operator must open the Cabin (Outer) door fully, then open the car gate (inner) door fully.

- The stock can then be off loaded.

- If there is stock for the next floor, then the Lift Operator must close the doors, ensure they are closed properly, intercom the next floor & press the call button for the next floor.

- If all the stock is offloaded at the floor, then the Lift Operator must close the car gate (inner) door & leave the cabin (outer) door open.

Items to be collected, items for assembly and items for other floors-:

- In the morning, the Branch Manager is to write up a list of the stock to be collected, for assembly & filling up other floors.

- The Branch Manager must then hand the list to the Lift Operator.

- The Lift Operator will then start by checking which level the lift is at, what stock can be loaded & off loaded at each level.

- The cabin (outer) door was left open overnight, so the Lift Operator will open the car gate (inner) door fully & load the lift.

- The Lift Operator will then close the car gate (inner) door fully & then close the cabin (outer) door fully.

- The Lift Operator will then intercom the different floors to let them know that the lift is on its way.

- At each floor, the Lift Operator will open & close the two doors, intercom the other floors & operate the call buttons.

# TRAINING REGISTER

| DATE | OPERATOR NAME | OPERATOR SIGN | TRAINER NAME | TRAINER SIGN |
| --- | --- | --- | --- | --- |